la crosse county

Highway West salem shop

roof replacement

REQUEST FOR BIDS

july 1, 2026

Highway Department

LA CROSSE COUNTY

301 Carlson Rd. West Salem, WI 54669

Request For Bids – West Salem Shop Roof Replacement

General Information

Objective

The purpose of this Request for Bid (RFB) is to enter into a contract with the selected contractor who will furnish all materials and labor to remove an existing roofing system and replace with a new roofing system.  Work to be performed on the roof portion of the La Crosse County Highway shop.

Incurred Costs

La Crosse County is not responsible for any costs incurred by the Responder in the preparation of the bid, participation in the Contractors’ meeting, or for any other cost to the Responder associated with responding to the RFB.

RFB Schedule

The following is a list of the important dates for activities related to the RFB process.  La Crosse County reserves the right to change these dates and will post the changes on its web site.

| Activity | ## Time | Date |
| --- | --- | --- |
| RFB released |  | July 1, 2026 |
| Submission of bids | 10 am | July 16,2026 |
| Opening of bids | 10:05 | July 16, 2026 |
| Public Works & Infrastructure Committee Approval** | 4:30 | August 10,2026 |
| Anticipated contract start date |  | 2026 (or early 2027) |

**Please note that this is the scheduled date as of the release of this RFB.  It is the contractor’s responsibility to be aware of Committee Meeting times and dates.  This information can be accessed on the County web site at http://www.lacrossecounty.org via clicking on the header “Your Government” and selecting “Meetings” listed under County Board.

RFB Release

This RFB may be seen at the La Crosse County Highway Department 301 Carlson Rd. West Salem, WI 54669.  It is also posted on the La Crosse County web site.  La Crosse County reserves the right to amend this RFB at any time.  In the event it becomes necessary to amend, alter or delete any part of the RFB, changes to the RFB will be posted on the web site.  It is the contractor’s responsibility to be aware of amendments that are posted on the web site.  The address is:  https://lacrossecounty.org/home/business/requests-for-proposals/requests-for-proposals

Contractors are encouraged to check the web site frequently for changes to the RFB or schedule.  Printed copies of the RFB will be provided upon request.  Send your request to:  La Crosse County Highway Department, Attn: Cathy Tschumper, 301 Carlson rd. West Salem, WI 54669.

Contractors’ Meeting

Prior to bidding, the contractor shall field verify conditions and requirements to complete project.  Site visit upon request.

### Submission of Questions

Questions shall be submitted to: Cathy Tschumper           Phone:  608-786-3841

Email: ctschump@lacrossecounty.org

## Submission of Bids:

Proposals submitted will be marked as “Highway Shop Roof Replacement” and must be submitted to Demand Star no later than July 16th, 2026 at 10:00 am CST.

## Opening of Bids

The bids will be publicly opened at 10:05am, July 16th, 2026 at the La Crosse County Highway Department 301 Carlson Rd. West Salem, WI 54669. At that time, the names of contractors who properly submitted bids will be announced.  Announcement of the names of the contractors who submitted bids is not a guarantee that the bids otherwise comply with the specifications of this RFB.

## Ownership of Bids

All bids submitted on time become the property of La Crosse County upon submission, and the bids will not be returned to the Contractors.  By submitting a bid, the Responder agrees that La Crosse County may copy the bid for purposes of facilitating the evaluation.

Other Information

Contractors may submit any other information that is not described in this bid that would be beneficial to La Crosse County.  If in the contractor’s opinion the County has overlooked anything material or relevant, such items may be brought to the County’s attention and be included in the bid.

Amendments to the RFB

In the event it becomes necessary to amend, alter or delete any part of the RFB, changes to the RFB will be posted on the website.  The address is:

https://lacrossecounty.org/home/business/requests-for-proposals/requests-for-proposals

## Final Selection

The final contractor selection shall be made by the Public Works & Infrastructure Committee at their regular monthly meeting held on Monday, Aug 10th, 2025.

## Terms and Conditions:

- La Crosse County reserves the right to accept or reject any or all bids or portions thereof without stated cause.

- La Crosse County reserves the right to reissue any requests for bids.

- Upon the selection of a finalist contractor, the County, by its proper officials, employees, or agents, shall attempt to negotiate and reach a final agreement with this contractor. If the County, for any reason, is unable to reach a final agreement with this contractor, the County reserves the right to reject such contractor and negotiate a final agreement with the contractor who has the next most viable proposal or bid. The County may also elect to reject all bids and reissue a request for bid.

- Clarification of bids: La Crosse County reserves the right to obtain clarification of any point in a contractor’s bid or obtain additional information. Please provide an email address or contact/phone number for this.

- La Crosse County is not bound to accept the bid with the lowest cost but may accept the bid that demonstrates the best ability to meet the needs of La Crosse County.

- The County reserves the right to waive any formalities, defects, or irregularities in any bid, response, and/or submittal where the acceptance, rejection, or waiving of such is in its best interests.

- The County reserves the right to disqualify any bid, before or after opening, upon evidence of collusion, with the intent of defraud, or any other illegal practice on the part of the contractor.

- The contractor agrees to the fullest extent permitted by law, to indemnify, defend and hold harmless, the County, and its agents, officers and employees, from and against all loss or expense including costs and attorney fees by reason of liability for damages including suits at law or in equity, caused by any wrongful, intentional, or negligent act or omission of the contractor, or its (their) agents and / or subcontractors which may arise out of or connected with activities covered by this contract.

- Insurance:

  - Contractor agrees that in order to protect itself as well as La Crosse County, its officers, Boards, and employees under the indemnity provisions set forth in the paragraph above, contractor will at all times, during the terms of this contract, keep in force insurance policies issued by an insurance company authorized to do business and licensed in the State of Wisconsin. Unless otherwise specified in WI Statutes, the types of insurance coverage and minimum amounts shall be as follows:

    - Workers’ Compensation: minimum amount statutory

    - Comprehensive General Liability: $1,000,000 per occurrence and in aggregate for bodily injury and property damage

Bid Evaluation

La Crosse County Highway Department will review all bids and will make a recommendation to the Public Works & Infrastructure Committee based upon the following criteria:

| Category | Evaluation Points |
| --- | --- |
| Contractor Qualifications | 30 |
| Cost | 70 |
| Total | 100 |
| History | -0-15 |

Introduction

The West Salem Highway Shop is located at 301 Carlson Rd. West Salem, WI 54669.

# GENERAL

The project, La Crosse County Highway Department Main Garage Reroof, located in West Salem WI, includes the provision of a complete Elevate Rubber Gard™ EPDM membrane roofing system.

- Summary

  - Furnish and install a complete EPDM roofing system, including:

    - Roofing Manufacturer's requirements for the specified warranty

    - Preparation of roofing substrates

    - Wood Nailers for roofing attachment

    - Insulation

    - Adhered

    - Metal copings

    - Flashings

    - Walkway pads

    - Other roofing-related items specified or indicated on the drawings or otherwise necessary to provide a complete weatherproof roofing system

## Disposal of demolition debris and construction waste is the responsibility of Contractor. Perform disposal in manner complying with all applicable federal, state, and local regulations.

- Comply with the published recommendations and instructions of the roofing membrane Manufacturer, at www/elevatecommerialBP.com

- Commencement of work by the Contractor shall constitute acknowledgement by the Contractor that this specification can be satisfactorily executed, under the project conditions and with all necessary prerequisites for warranty acceptance by roofing membrane Manufacturer.

- Related Sections (as present or needed)

  - Section 06 10 00 – Rough Carpentry

  - Section 07 62 00 – Sheet Metal Flashing and Trim

  - Section 07 71 00 – Roof Specialties

  - Section 07 72 00 – Roof Accessories

  - Section 08 60 00 – Roof Windows and Skylights

  - Section 22 14 26.13 – Roof Drains

- Definitions

  - Definitions in the current editions of ASTM D1079 and NRCA's “The NRCA Roofing Manual: Membrane Roof Systems” apply to work of this Section.

- Submittals

  - Product Data

    - Provide membrane Manufacturer's printed data sufficient to show that all components of roofing system, including insulation and fasteners, comply with the specified requirements and with the membrane Manufacturer's requirements and recommendations for the system type specified; include data for each product used in conjunction with roofing membrane.

    - Where UL requirements are specified, provide documentation that shows that the roofing system to be installed is UL-Classified, as applicable. Include data itemizing the components of the classified or approved

system.

  - . Installation Instructions

    - Provide Manufacturer's instructions to Installer, marked up to show exactly how all components will be installed.

    - Where instructions allow installation options, clearly indicate which option will be used.

  - Shop Drawings

    - Provide roof plan indicating orientation of steel deck, and fastener and/or adhesive layouts.

    - Provide the roof membrane Manufacturer's standard details customized for this project for all relevant conditions, including flashings, base tie-ins, roof edges, terminations, expansion joints, penetrations, and drains.

  - Provide copy of Pre-Installation Notice to show that Manufacturer's required Pre-Installation Notice (PIN) has been accepted and approved by the Manufacturer.

  - Submit samples of each product to be used.

  - Specimen Warranty

  - Closeout Submittals

    - Executed Warranty

    - Maintenance data

- Quality Assurance

  - Applicator Qualifications

    - Current Elevate Master Contractor status

    - At least five years’ experience in installing specified system

    - Capability to provide payment and performance bond to building Owner

  - Pre-Installation Conference

    - Before start of roofing work, Contractor shall hold a meeting to discuss the proper installation of materials and requirements to achieve the warranty.

    - Require attendance with all parties directly influencing the quality of roofing work or affected by the performance of roofing work.

    - Review methods and procedures related to roofing installation, including Manufacturer's written instructions.

    - Review and finalize construction schedule, and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

    - Examine deck substrate conditions and finishes, including flatness and fastening.

    - Review structural loading limitations of roof deck during and after roofing.

    - Review base flashings, special roofing details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that affects roofing system.

    - Review governing regulations and requirements for insurance and certificates if applicable.

    - Review temporary protection requirements for roofing system during and after installation.

    - Review roof observation and repair procedures after roofing installation.

    - Notify Architect well in advance of meeting.

- Delivery, Storage and Handling

  - Deliver products in Manufacturer's original containers, dry and undamaged, with seals and labels intact and legible.

  - Discard and legally dispose of material that cannot be applied within its stated shelf life.

  - Store materials clear of ground and moisture with weather protective covering.

  - Keep combustible materials away from ignition sources.

  - Handle and store roofing materials and place equipment in a manner to avoid permanent deflection of deck and/or structural overloading.

- Field Conditions

  - Proceed with installation only when existing and forecasted weather conditions permit roofing system to be installed in accordance with Manufacturer's written instructions and warranty requirements.

- Warranty

  - Provide Elevate 20-year Red Shield™ Roofing System Limited Warranty covering membrane, roof insulation, and system accessories. Comply with all warranty procedures required by Manufacturer, including notifications, scheduling, and inspections.

  - Limit of Liability: No dollar limitation (NDL)

  - Scope of Coverage: Repair leaks in the roofing system caused by

    - Ordinary wear and tear

    - Normal exposure to the elements

    - Manufacturing defect in Elevate materials

    - Defective workmanship used to install these materials

    - Damage due to winds up to 72 mph

    - Not Covered:

      - Damage due to winds in excess of 72 mph

      - Damage due to hurricanes or tornadoes

      - Hail

      - Intentional damage

      - Unintentional damage due to normal rooftop inspections, maintenance, or service

PRODUCTS

- Manufacturers

  - Acceptable Manufacturer – Roofing System: Elevate roofing, lining, and wall systems, Nashville, TN, http:/wwwelevateCommercialBP.com

    - Roofing systems manufactured by others may be acceptable provided the roofing system is completely equivalent in materials and warranty conditions and the Manufacturer meets the following qualifications:

      - Specializing in manufacturing the roofing system to be provided

      - Minimum ten years of experience manufacturing the roofing system to be provided

      - Able to provide a no dollar limit, single source roof system warranty backed by corporate assets in excess of one billion dollars

      - ISO 9001 certified

      - Able to provide polyisocyanurate insulation produced in own facilities

  - Manufacturer of Insulation and Cover Board: Same Manufacturer as roof membrane

  - Manufacturer of Metal Roof Edging: Same Manufacturer as roof membrane

    - Metal roof edging products by other Manufacturers are not acceptable.

    - Field- or shop-fabricated metal roof edgings are only acceptable if using Elevate metal.

  - Substitution Procedures: See Instructions to Bidders

    - Submit evidence that the proposed substitution complies with the specified requirements.

- Roofing System Description

  - Roofing System

    - Membrane: Ethylene propylene diene monomer (EPDM)

      - Thickness: As specified elsewhere

      - Membrane Attachment: Adhered

    - Slope: ¼:12 (2%)

    - Comply with applicable local building code requirements.

    - Provide assembly having Underwriters Laboratories, Inc. (UL) Class A Fire Hazard Classification

    - Insulation

      - Total System R-Value Minimum R 30

      - Maximum Board Thickness: 3″ (76.2 mm)

      - Stagger joints in adjacent layers

      - Base Layer: Polyisocyanurate foam (existing two layers 1.5” R=17.2)

      - Top Layer: Polyisocyanurate foam board, 2.6” ( R 15 ) Total system R = 32.2

- EPDM Membrane Materials

  - Roofing and Flashing Membrane: Black cured synthetic single-ply membrane composed of ethylene propylene diene monomer (EPDM) with the following properties:

    - Thickness:  0.060″ (1.52 mm)

    - Reinforcement: Non-reinforced

    - Nominal Thickness Tolerance: ±10%

    - Sheet Width: Use widest sheet practical for jobsite conditions to minimize field seams

    - Acceptable Product: RubberGard™ EPDM Membrane by Elevate or equivalent to.

  - Flashing Membrane: Self-curing, non-reinforced membrane composed of non-vulcanized EPDM rubber, complying with ASTM D 4811 Type II, and with the following properties:

    - Thickness: 0.055″ (1.4 mm)

    - Color: Same as field membrane

    - Acceptable Product: RubberGard™ EPDM FormFlash™ by Elevate

  - Self-Adhering Flashing Membrane: Semi-cured 45 mil EPDM membrane laminated to 35 mil (0.9 mm) EPDM tape adhesive; QuickSeam™ Flashing by Elevate

  - Self-Adhering Batten Cover: Semi-cured 45 mil EPDM membrane laminated to 35 mil (0.9 mm) EPDM tape adhesive; QuickSeam™ Batten Cover.

  - Pre-Molded Pipe Flashings: EPDM, molded for quick adaptation to different sized pipes; Elevate EPDM Pipe Flashing

  - Self-Adhesive Lap Splice Tape: 35 mil (0.9 mm) EPDM-based, formulated for compatibility with EPDM membrane and high-solids primer; QuickSeam™ Splice Tape by Elevate

  - Splice Adhesive: Synthetic polymer-based, formulated for compatibility with EPDM membrane and metal surfaces; SA-1065 Splice Adhesive by Elevate

  - Bonding Adhesive: Formulated for compatibility with EPDM membrane and wide variety of substrate materials;  Jet Bond Spray Adhesive or Bonding Adhesive BA-2004 by Elevate

  - Adhesive Primer: Synthetic rubber-based primer formulated for compatibility with EPDM membrane and tape adhesive, with VOC content less than 2.1 lb./gal (250 g/L),  QuickPrime™ Plus or QuickPrime™ Plus LVOC or Single-Ply QuickPrime™ Primer by Elevate

  - Seam Edge Treatment: EPDM rubber-based sealant, formulated for sealing exposed edges of membrane at seams; Lap Sealant HS by Elevate

  - Pourable Sealer: One part polyurethane; Black One-Part Pourable Sealer by Elevate.

  - Water Block Seal: Butyl rubber sealant for use between two surfaces, not exposed; Water Block Seal S-20 by Elevate

  - Metal Plates and Strips used for Fastening Membrane and Insulation: Steel with Galvalume coating; corrosion-resistance meeting FM 4470 criteria

  - Termination Bars: Aluminum bars with integral caulk ledge; 1.3″ (33 mm) wide by 0.10″ (2.5 mm) thick; Termination Bar by Elevate

  - Roof Walkway Pads: EPDM, 0.30″ (7.6 mm) thick by 30″ x 30″ (760 mm x 760 mm) with EPDM tape adhesive strips laminated to the bottom; QuickSeam™ Walkway Pads by Elevate.

  - Yellow Safety Strip: A 5.5″ (140 mm) by 100′ long (30 m) strip and nominal 30 mil (0.76 mm) thick yellow TPO membrane laminated to a white, cured, seam tape, compatible with TPO and EPDM; QuickSeam™ Yellow Safety Strip by Elevate

- Roof Insulation and Cover Boards

  - Polyisocyanurate Board Insulation: Closed cell polyisocyanurate foam with glass reinforced mat laminated to facers, complying with ASTM C 1289 Type II Class 1  with the following additional characteristics:

  - Thickness: As indicated elsewhere

  - Size: 48″ (1.22 m) by 96″ (2.44 m), nominal (if mechanically fastened) or 48″ (1.22 m) by 48″ (1.22 m), nominal (if adhered)

  - R-Value (LTTR) per inch (25 mm): min. 6.2R at 40 °F (4.4 °C) and min. 5.7R at 75 °F (23.9 °C)

  - Compressive Strength: 20 psi (138 kPa)

  - Ozone Depletion Potential: Zero; made without CFC or HCFC blowing agents

  - Acceptable Product: ISOGARD GL polyiso board insulation by Elevate

  - Insulation Fasteners: Type and size as required by roof membrane Manufacturer for roofing system and warranty to be provided; use only fasteners furnished by roof membrane Manufacturer.

- Metal Accessories

  - Aluminum Bar: Continuous 6063-T6 alloy aluminum extrusion with pre-punched slotted holes; miters welded; injection molded EPDM splices to allow thermal expansion

  - Anchor Bar Cleat: 20-gage, 0.036″ (0.9 mm) G90 coated commercial type galvanized steel with pre-punched holes

  - Scuppers: Welded watertight

  - Accessories: Provide matching brick wall cap, downspout, extenders, and other special fabrications as shown on the drawings

  - Parapet Copings: Formed metal coping with galvanized steel anchor/support cleats for capping any parapet wall; watertight, maintenance free, without exposed fasteners; butt type joints with concealed splice plates; mechanically fastened as indicated

    - Wind Performance:

      - At least the minimum required when tested in accordance with ANSI/SPRI ES-1 Test Method RE-3, current edition.

      - Provide product listed in current Factory Mutual Research Corporation Approval Guide with at least FM 1-90 rating.

    - Description: Coping sections allowed to expand and contract freely while locked in place on anchor cleats by mechanical pressure from hardened stainless steel springs factory attached to anchor cleats; 8″ (200 mm) wide splice plates with factory applied dual non-Curing sealant strips capable of providing watertight seal.

    - Material and Finish: 24-gage, 0.024″ (0.06 mm) thick galvanized steel with Kynar 500 finish in Manufacturer's standard color; matching concealed joint splice plates; factory-installed protective plastic film.

    - Dimensions:

      - Wall Width: Field measure.

      - Piece Length: Minimum 144″ (3.65.

    - Anchor/Support Cleats: 20-gage, 0.036″ (0.9 mm) thick pre-punched galvanized cleat with 12″ (305 mm) wide stainless-steel spring mechanically locked to cleat at 72″ (1.82 m) on center.

    - Fasteners: Factory-furnished; electrolytically compatible; minimum pull out resistance of 240 lbs. (109 kg) for actual substrate used; no exposed fasteners.

    - Acceptable Product: Appropriate Elevate pre-manufactured coping system or shop fabricated using Elevate Metal

- Accessory Materials

  - Wood Nailers: PS 20-dimension lumber, Structural Grade No. 2 or better Southern Pine, Douglas Fir; or PS 1, APA Exterior Grade plywood; pressure preservative treated.

    - Width: 3 ½″ inches (90 mm), nominal minimum, or as wide as the nailing flange of the roof accessory to be attached to it

    - Thickness: Same as thickness of roof insulation

# INSTALLATION

- General

  - Install roofing, insulation, flashings, and accessories in accordance with roofing Manufacturer's published instructions and recommendations for the specified roofing system. Where Manufacturer provides no instructions or recommendations, follow good roofing practices and industry standards. Comply with federal, state, and local regulations.

  - Obtain all relevant instructions and maintain copies at project site for duration of installation period.

  - Do not start work until Pre-Installation Notice has been approved by Manufacturer as confirmation that this project qualifies for a Manufacturer's warranty.

  - Perform work using competent and properly equipped personnel.

  - Temporary closures, which ensure that moisture does not damage any completed section of the new roofing system, are the responsibility of the Applicator. Completion of flashings, terminations, and temporary closures shall be completed as required to provide a watertight condition.

  - Install roofing membrane only when surfaces are clean, dry, smooth, and free of snow or ice; do not apply roofing membrane during inclement weather or when ambient conditions will not allow proper application; consult Manufacturer for recommended procedures during cold weather. Do not work with sealants and adhesives when material temperature is outside the range of 60 to 80 °F (15 to 25 °C).

  - Protect adjacent construction, property, vehicles, and persons from damage related to roofing work; repair or restore damage caused by roofing work

  - Protect from spills and overspray from bitumen, adhesives, sealants, and coatings.

  - Particularly protect metal, glass, plastic, and painted surfaces from bitumen, adhesives, and sealants within the range of wind-borne overspray.

  - Protect finished areas of the roofing system from roofing related work traffic and traffic by other trades.

  - Until ready for use, keep materials in their original containers as labeled by the Manufacturer.

  - Consult membrane Manufacturer's instructions, container labels, and Safety Data Sheets (SDS) for specific safety instructions. Keep all adhesives, sealants, primers, and cleaning materials away from all sources of ignition.

- Examination

  - Examine roof deck to determine that it is sufficiently rigid to support installers and their mechanical equipment, and that deflection will not strain or rupture roof components or deform deck.

  - Verify that surfaces and site conditions are ready to receive work. Correct defects in the substrate before commencing with roofing work. Verify that roof openings and penetrations are in place, curbs are set and braced, and roof-drain bodies are securely clamped in place.

  - Verify that wood blocking, curbs, and nailers are securely anchored to roof deck at penetrations and terminations and that nailers match thicknesses of insulation.

  - Examine roof substrate to verify that it is properly sloped to drains.

  - Verify that the specifications and drawing details are workable and not in conflict with the roofing Manufacturer's recommendations and instructions; start of work constitutes acceptance of project conditions and requirements.

- Preparation

  - Prior to proceeding, prepare roof surface so that it is clean, dry, and smooth, and free of sharp edges, fins, roughened surfaces, loose or foreign materials, oil, grease, and other materials that may damage the membrane.

  - Fill all surface voids in the immediate substrate that are greater than 1/4″ (6 mm) wide with fill material acceptable to membrane Manufacturer.

- Insulation and Cover Board Installation

  - Install insulation in configuration and with attachment method(s) specified in PART 2, under Insulation.

  - Install only as much insulation as can be covered with the completed roofing system before the end of the day's work or before the onset of inclement weather.

  - Lay roof insulation in courses parallel to roof edges.

  - Neatly and tightly fit insulation to all penetrations, projections, and nailers, with gaps not greater than ¼″ (6 mm). Fill gaps greater than ¼″ (6 mm) with acceptable insulation. Do not leave the roofing membrane unsupported over a space greater than ¼″ (6 mm).

  - Mechanical Fastening: Using specified fasteners and insulation plates engage fasteners through insulation into deck to depth and in pattern required by membrane Manufacturer.

- Single-Ply Membrane Installation

  - Beginning at low point of roof, place membrane without stretching over substrate and allow to relax at least 30 minutes before attachment or splicing; in colder weather allow for longer relax time.

  - Lay out the membrane pieces so that field and flashing splices are installed to shed water.

  - Install membrane without wrinkles and without gaps or fishmouths in seams, and bond and test seams and laps in accordance with membrane Manufacturer's instructions and details.

  - Adhered Membrane: Bond membrane sheet to substrate using membrane Manufacturer's recommended bonding material, application rate, and procedures.

  - Edge Securement: Secure membrane at all locations where membrane terminates or goes through an angle change greater than 1:12 inches (8.3%) using mechanically fastened reinforced perimeter fastening strips, plates, or metal edging as indicated or as recommended by roofing Manufacturer. Exceptions: Round pipe penetrations less than 18″ (460 mm) in diameter and square penetrations less than 4″ (200 mm) square

    - Metal edging is not merely decorative; ensure anchorage of membrane as intended by roofing Manufacturer and compliant with IBC.

- FLASHING AND ACCESSORIES INSTALLATION

  - Install flashings, including laps, splices, joints, bonding, adhesion, and attachment, as required by membrane Manufacturer's recommendations and details.

  - Metal Accessories: Install metal copings with membrane up, over and down the parapet.

    - Follow roofing Manufacturer's instructions.

    - Remove protective plastic surface film immediately before installation.

    - Install water block sealant under the membrane anchorage leg.

    - Flash with Manufacturer's recommended flashing sheet unless otherwise indicated.

  - Scuppers: Set in sealant and secure to structure; flash as recommended by Manufacturer.

  - Roofing Expansion Joints: Install as shown on drawings and as recommended by roofing Manufacturer.

  - Flashing at Walls, Curbs, and Other Vertical and Sloped Surfaces:

    - Install weathertight flashing at all walls, curbs, parapets, skylights, and other vertical and sloped surfaces that the roofing membrane abuts to; extend flashing at least 8″ (200 mm) above membrane surface.

    - Use the longest practical flashing pieces.

    - Evaluate the substrate and overlay and adjust installation procedure in accordance with membrane Manufacturer's recommendations.

    - Complete the splice between flashing and the main roof sheet with specified splice adhesive before adhering flashing to the vertical surface.

    - Provide termination directly to the vertical substrate as shown on roof drawings.

  - Roof Drains:

    - Taper insulation around drain to provide smooth transition from roof surface to drain. Use specified pre-manufactured tapered insulation with facer or suitable bonding surface to achieve slope; slope not to exceed Manufacturer's recommendations.

    - Position membrane, then cut a hole for roof drain to allow ½″ to ¾″ (12 to 19 mm) of membrane to extend inside clamping ring past drain bolts.

    - Make round holes in membrane to align with clamping bolts; do not cut membrane back to bolt holes.

    - Apply sealant on top of drain bowl where clamping ring seats below the membrane

    - Install roof drain clamping ring and clamping bolts; tighten clamping bolts to achieve constant compression.

  - Flashing at Penetrations: Flash all penetrations passing through the membrane; make flashing seals directly to the penetration.

  - Pipes, Round Supports, and Similar Items: Flash with specified pre-molded pipe flashings wherever practical; otherwise use specified self-curing elastomeric flashing.

  - Pipe Clusters and Unusual Shaped Penetrations: Provide penetration pocket at least 2″ (50 mm) deep, with at least 1″ (25 mm) clearance from penetration, sloped to shed water.

  - Structural Steel Tubing: If corner radii are greater than ¼″ (6 mm) and longest side of tube does not exceed 12″ (305 mm), flash as for pipes; otherwise, provide a standard curb with flashing.

  - Flexible and Moving Penetrations: Provide weathertight gooseneck set in sealant and secured to deck, flashed as recommended by Manufacturer.

- Walkway Installation

  - Install walkways at access points to the roof, around rooftop equipment that may require maintenance, and where indicated on the drawings.

    - Use specified walkway pads unless otherwise indicated.

    - Walkway Pads: Adhere to the roofing membrane, spacing each pad at minimum of 1″ (25 mm) and maximum of 3″ (75 mm) from each other to allow for drainage.

    - If installation of walkway pads over field fabricated splices or within 6″ (150 mm) of a splice edge cannot be avoided, adhere another layer of flashing over the splice and extending beyond the walkway pad a minimum of 6″ (150 mm) on either side.

    - Prime the membrane, remove the release paper on the pad, press in place, and walk on pad to ensure proper adhesion.

- Field Quality Control

  - Inspection by Manufacturer: Provide final inspection of the roofing system by a Technical Representative employed by roofing system Manufacturer specifically to inspect installation for warranty purposes (e.g., not a sales representative).

  - Perform all corrections necessary for issuance of warranty.

- Cleaning

  - Clean all contaminants generated by roofing work from building and surrounding areas, including bitumen, adhesives, sealants, and coatings.

  - Repair or replace building components and finished surfaces damaged or defaced due to the work of this section; comply with recommendations of Manufacturers of components and surfaces.

  - Remove leftover materials, trash, debris, equipment from project site and surrounding areas.

- Protection

  - Where construction traffic must continue over finished roof membrane, provide durable protection, and replace or repair damaged roofing to original condition.

END OF SECTION

General Specifications

A.	Insurance: Contractors must provide proof via an insurance certificate or other written documentation of the following levels of insurance.  These levels of insurance must remain in effect during the entire term of the contract.  1) Workers’ Compensation at the minimum statutory amount and Comprehensive General Liability Insurance in the amount of $1,000,000.00 per occurrence and in aggregate for bodily injury and property damage.

B.	Termination: Either party may terminate the contract for any reason by providing notice of said termination to the other party, in writing, 60 days prior to the proposed termination date.

C.	Miscellaneous: If in the contractor’s opinion the County has overlooked anything material or relevant, it is asked these items to be brought to our attention and be included in the bid.

- Contract: Within 30 days after bid date, the successful Bidder will be required to execute a contract for the work for the stated compensation.  The contract is subject to modifications by La Crosse County.  The contract shall incorporate the terms of this RFB, and any pertinent documents included with the selected Contractors accepted and approved bid. La Crosse County reserves the right to terminate the relationship with the successful Bidder if the required documents are not submitted to and approved by La Crosse County within thirty (30) business days of receiving notice of the award of the contract.

Work Start and Completion Dates: 2026 or early 2027

Should the Contractor neglect, refuse, or fail to complete the work under the contract in accordance with the La Crosse County’s requirements, the Contractor may be liable for consequential damages resulting directly from their negligent acts.

Summary of Requirements Necessary to Respond to this RFB

A.	Completed Bid Summary Sheet

B.	Proof of Worker’s compensation and Employers General Liability Insurance.

C.	Product Data

D.	Letter attesting that roofing manufacturer currently licenses roofing contractor.

E.	Submit warranty sample.

F.	Pre-Installation Notice: Submit copy of roofing manufacturer’s Pre-Installation Notice (PIN) that has been accepted and approved by the roofing manufacturer.

# LEC ROOF REPLACEMENT BID FORM

### TO:	Submit bid form and proposal to DemandStar marked as Highway Shop Roof replacement

Bids close at 10am on July 16th, 2026

Bids will be opened at 10:05 a.m. on the same date at the Highway Department

301 Carlson Rd.

West Salem, WI 54669

DESCRIPTION OF ITEM BEING BID: Furnish all labor and materials required (per specifications) to complete the roof replacement project

NOTE: Specify explicitly where bid items vary from the minimum specifications.  Please use back of bid form or include attachments.

Base Bid _________________________________ Dollars ($_____________________)

Alternate Bid:

Warranty Greater than 15 years      # of Years: _________	Dollars ($____________)

Installation Time Frame: ________________________________________________________________

Legal Name of Vendor:

Vendor Address:

Sales Representative:

Phone:

Email:

#### COMPLETION OF WORK

- If the undersigned is notified of bid acceptance, within thirty (30) days after bid date s/he agrees to execute a Contract to La Crosse County for the above work for the stated compensation.

The above information is true and correct to the best of my knowledge.  I understand that La Crosse County reserves the right to accept or reject any or all bids without stated cause.  I also understand that La Crosse County may allocate said bids in any way that is most advantageous to the County.

Authorized Signature:							 Date:

Attach:

Proof of Insurance___

Product Date___

Letter of License___

Warranty Sample___

Pre-Installation Notice___

Printed Name:

Title:

Phone: